## FOR INSPECTION
LAMP FOR INSPECTION
EQUIPMENT | LIGHT SOURCE | LAMP
OVERTECH | MEJIRO | 250W, 350W METAL HALIDE LAMP
HAMAMATSU
MORITEX
IWASAKI
EQUIPMENT |  | LAMP
KLA TENCOR | 2131, 2132 | UXM-S200KL
| 2138, 2139 | UXM-S150MO
| UV 1050 | L2174-01, L2174-04
| 51XX, 52XX | L2174-04
L2174-05
L2917-02
| 2371 | L8288-02
NOVA |  | L2174
METROLOGY
EQUIPMENT |  | LAMP
NANO METRICS | NANOSPEC 9200 | L6923-01(L2D2)
| NANOSPEC 9200 | HALOGEN 9010
| NANOSPEC 6500 | NIKON NT12V 50WL
| ATLAS XP | HALOGEN 7200-016711
| ATLAS XP | L10725-01
KLA TENCOR | SPECTRA FX200 | L2174-04
| SPECTRA FX200 | L9519-02
| SPECTRA FX200 | L7137
OPTO PROBE | 520S | L2174-01
JA WOOLLAM | VUV-VASE | L8547

## FOR PHOTO
LAMP FOR WAFER EDGE EXPOSURE
EQUIPMENT |  | LAMP
TEL | ACT12 | LP2502T, T250
| ACT8 | LP2502T, T250
| MARK 7, 8, 5z | HOYA 210HS-D2
| MARK 5 | UXM-200YA
| LITHIUS | LP2511T, T(H)
DNS | SK2000 (I LINE) | L8831
| SK2000 (KRF) | L8832
| SK3000 (I LINE) | L8831
| SK3000 (KRF) | L8832
| RF CUBE (I LINE) | L8831
| RF CUBE (KRF) | L8832
| 60B/80B (I LINE) | L6190, L2570-04DS
| 60B/80B (DUV) | L2423-02
| TRACK 200 (I LINE) | L6831
| TRACK 200 (DUV) | L6832
TORAY | TRTE-65TRE | HOYA 250DL
| TRD-72D | USH-250LT
| TRTE-92TRE | TOSHIBA SH1002MA
SPOT CURE
HAMAMATSU | L8253
L8251
PANASONIC | ANUPS204
HOYA | MX200
USHIO | UXM-Q256BY
EDGE EXPOSURE
HOYA | 250AF

## FOR HPLC . SPECTROMETER
LAMP FOR HPLC, SPECTROMETER
MAKER | MODEL NO. | LAMP PART NO.
WATERS | 2487, (2488) dual wavelength, 487, ALLIANCE 2487, ALLIANCE 2488, UV2487 | WAS081142
2489, 2998
| 990, 991, 994, PDA | WAT021516
| 484 | WAT080357
| 480LC, 481, 481LC, 481 LABDA MAX | WAT099499
| ACQUITY 2996 PDA DETECTOR | WAT052586
| 996, 2996 | WAT052586
| 486LC1 (MODULE 1) | WAT080678
| 486LC | WAT080678
AGILENT | UV & VISIBLE SPECTROMETER | 5190-0917
| 1100, 1200 DAD | 5181-1530
| 8453 | 2140-0590
| 1050C, 1050 DAD, 1090 (1040) | 79883-6002
| 1050A, 79853A | 79853-600002
| 8452A | 08452-60104
1260, 1290DAD
| 1100 VWD, G1314A | G1314-60100
DIONEX | ULTIMATE VWD 3000, 3100, 3400 | 6074.111
| PDA 100, PDA-3000, AD-25 | 939016T
FLUORESCENCE DETECTOR
SHIMADZU | SPD 10A, 10AV, 10AVP, M10AVP | 228-340 16-02
| UV SPECTROMETER | 062-65055-05
| LC2010 | 228-37401-00
| RF1501, 5301, 5000 | 200-81500-01
| RF540, RF535, RF551, RF500, RF10A, RF10AXL | 228-34216-00
THERMO/SCIENTIFIC TSP | (TSD) UV 6000 | 108052
| SP100, 200, UV100, 150, 200, 1000, 2000, 3000 | 9551-0023
GILSON | 170 DAD | 5181-1530
2140-0590
| 115, 116, 117, 118, 119, 151, 152, 155, 156 | 100326
122
BECKMAN | P/ACE MDQ | 14467
| DU600, 620, 630, 640, 650, 6000, 7000, 7500 | 514366
DU730
| 168 | 538711
ABI | 757, 759, 783A, 785A, 1000S, 980 | 2900-0484
120A, 130A
HITACHI LA CHROM | L SERIES, ELITE, U SERIES | 892-2550
HITACHI MERCK | L7400, L7420, L7450, L7485, L7480, L2400LCE, L2420LCE, L2450, L2455LCE | 885-3570, 890-2430
L2485U, L2485, L2480, L7485, L7480, F7000, F4500, F2500
PERKIN ELMER | SYSTEM 200 UV/VIS | N2920149
203, 204, MPF2A, MPF3, MPF4, 650
VARIAN | PROSTAR 325 335
| VISTA 5000, 5500, UV50, 100, 200, 9050, PROSTAR 310 | 391615691
| PROSTAR 330 DAD | 393570502
PROSTAR 340, 345
JASCO | MD-2018, UV-2070. 2075
V530
| 975 (B&C SERIES), 1570, 1575, 2075 | 5330-0091
YOUNGLIN | YL9120, YL9160, YL9170
| ACME UV730D, UV725S | 730-03
HUTEX | BISCOFF LAMDA 1010, DAD-3L, DAD-100, RI8120, BIOQUART PAM2
SHODEX RI-100, CD5, RI-201
CHROM TECH DFW-20/21, VUV-24, VUV-25, MODEL 500, 510, 525
SOFTA ELSD, MODEL 100, 200S, 300S, 400, 1300, 1400

## XE LAMP 150W FOR HPLC
XE LAMP 150W FOR HPLC, SPECTROMETER
MAKER | TYPE | MODEL NO. | LAMP PART NO.
WATERS | A | 470, 474 | WAT052665
| B | 2475 (XENON)
VARIAN | A | PROSTAR 363 | XE LAMP
SHIMADZU | A | RF540, 535, 551, RF500, RF10A, RF10AXL, RF530, RF510 | XE LAMP
GILSON | A | 1.1512e+23 | 100326
MERCK HITACHI | A | FLUORESCENCE DETECTOR | XE LAMP
PERKIN ELMER | A | PE203, 204, MPF2A, MPF3, MPF4, 650 | XE LAMP
DIONEX | A
HALOGEN LAMP FOR HPLC, SPECTROMETER
MAKER | TYPE | MODEL NO. | LAMP PART NO.
WATERS | A | 2424 | HALOGEN LAMP

## METAL HALIDE LAMP
METAL HALIDE LAMP
LIGHT SOURCE SUPPLIER | UNIT | UNIT MAKER | LAMP
NIPPON P.I. | PCS UMX 250 | MEJIRO | PMH 250-7000
| PCS UMX 350 |  | PMH 350-7500
MORITEX | MME-250 | MEJIRO | MH-250-7500
MEJIRO PRECISION | BMH-250M | MEJIRO | MH-250-7500
BMH-250A
BMH-250AS
BMH-250AF
| BMH-350M | MEJIRO | MH-350
BMH-350A
BMH-350AS
BMH-350AF
SUMITA | LS-M250 | MEJIRO | MH-250-7500
| LS-M350 |  | MH-350
YLT | YLT-MH250 | MEJIRO | MH-250-7500
IWASAKI | MLDS250 | IWASAKI | MCR250K18H
MLDS250CFB

## USHIO LAMP FOR STEPPER
USHIO LAMP FOR STEPPER (SEMICONDUCTOR, LED, LCD)
EQUIPMENT | USHIO LAMP
NIKON | USH-1002FNL 3A
USH-1002FNIL2
SUV-2000NIL/R
SUV-2001NIL/R
SUV-2002NIL/R
SUV-2011NIL/R
SUV-2011NIHLA
SUV-2501NIL
CANON | SUV-1501CILH
SUV-2001CIL
USH-2002MA1L
ULTRATECH | USH-510FU
USH-1003FA
ASML | USH-350DS
USH-1003FSIL2
GCA | USH-1000FGL3
USH-1002FGL3
KARLSUS | USH-350DS
USH-1000KS

## USHIO LAMPS
USHIO LAMPS | [10 empty] | FG
SHORT ARC XENON | MERCURY, XE/HG/DEEP UV LAMP | SUPER HIGH PRESSURE MERCURY | SUPERIOR UV LAMP | FLASH UV LAMP | MEDIUM PRESSURE MERCURY | MHL LAMP |  | QIR LAMP
UXL-S150MO | UXM-150TO | USH-250BY | SUV-1500CIL | USH-500FU | UVH 10022-0 | MHL 100 | MHL 3020S | QIR230-200/E | QIR235-1200/KRP3 | PC-5001MF | JCV120V-1000W FEL
UXL-75XE | UXM-150TR | USH-102D | SUV-1500SIL | USH-510FU | UVH 1022-0 | MHL 1000/1 | MHL 3027S | QIR120-250/E | QIR240-1300SG/D | UVL-7000M4-0 | JCR15V 150W BN
UXL-S150M-O | UXM-200H | USH-250D | SUV-2000HI | USH-1000FA | UVH 10522-0 | MHL 1000/2 | MHL 33LY | QIR240-300/E3 | QIR240-1300SG/H | UVL-6000-O | JCR15V 150W BAL
UXL-150M-O | UXM-200H-O | USH-102DH | SUV-2000NIL | USH-1000FG | UVH 10526-0 | MHL 10001 | MHL 38KT | QIR240-300/VB | QIH235-1500UE | UVL-800-01 | JCD100V 1000WB
UXL-150S-O | UXM-200KL | USH-200DP | SUV-2001CIL | USH-1000FGI | UVH 11022-0 | MHL 10002 | MHL 400 | QIR240-300/YD | QIR235-1500/E1 | UVL-7000H4-O | JCR12V 100W BAU
UXL-500D-O | UXM-200T-O | USH-205DP | SUV-2001NIL | USH-1000FN | UVH 1224-0 | MHL 1000S | MHL 4000 SPG | QIR240-300/ZD | QIR240-1500G/D | SMR-200/D1 | JCR21V 150W EKE
UXL-302-O | UXM-502MA | USH-205S | SUV-2002NIL | USH-1000FNL | UVH 12522-0 | MHL 1007S | MHL 4000/400 | QIR240-300/ZH | QIR240-1500R/D | GL-10201 BF | JCR120V 1000W FEL
UXL-500D | UXM-501MD | USH-206D/M4 | SUV-2011NIL | USH-1002FA | UVH 13022-0 | MHL 1010 | MHL 4000/ozfr. | QIR240-300C/D | QIR240-1500SG/D | GL-30201BF
UXL-450S-O | UMX-502MD | USH-250BY | SUV-2011NIHL | USH-1002FAL | UVH 1322-0 | MHL 1020 | MHL 4001 | QIR230-330/E | QIR240-1500SG/H | GL70201BF
UXL-300D | UXM-1001MD | USH-250D | SUV-2500SIL | USH-1002FG | UVH 14021-0 | MHL 1040 | MHL 4003 | QIH120-375T/S | QIM400-1500W/ZD
UXL-300D-O |  | USH-350DP | SUV-2501NIL | USH-1002FN | UVH 14022 G-0 | MHL 12 | MHL 4007 | QIR120-500/B2 | QIR144-1600/ZS
UXL-150S-O |  | USH-350DS | SUV-2510NIL | USH-1002FNI | UVH 14219-0 | MHL 1200/230 | MHL 400G | QIR120-500/E3 | QIR144-1600KRP3
UXM-S100 |  | USH-450GL | SUV-2510NIHL | USH-1002FNIL | UVH 14219-2 | MHL 1200/230G | MHL 400L | QIR120-500/ZB | QIR235-1600/KRP3
UXL-75D |  | USH-450GS | SUV-2701CI | USH-1002FNL | UVH 14222-0 | MHL 1200/400 | MHL 4010 | QIR120-500/ZB2 | QIR235-1600/ZD4
UXL-75XO |  | USH-500BY | SUV-3500NI | USH-1003FGI | UVH 14222-1 | MHL 121HT | MHL 404 | QIR120-500/ZH | QIR235-1600/ZH
UXL-S75XE |  | USH-500D | SUV-3505SIL | USH-1000FAL | UVH 14522-0 | MHL 13 | MHL 450 | QIR230-500/E2 | QIR235-1600R/ZD
UXL-150P-O |  | USH-500MB | SUV-5500SI | USH-1002FAL | UVH 14526-0 | MHL 1403 | MHL 450G | QIR230-500/K2 | QIR230/250-1600S2
UXL-150S |  | USH-505MC |  | USH-1003FA | UVH 1522/28-0 | MHL 15 | MHL 450L | QIR230-500/ZK | QIR240-1600/D2
UXL-150S-K |  | USH-508S |  | USH-1003FAL | UVH 1522-0 | MHL 15 E | MHL 460 | QIR230-500R/VD | QIR240-1600/D3
UXL-151D-O |  | USH-508SA | PCB LAMP | USH-1003FSIL | UVH 1522-1 | MHL 150 | MHL 470 | QIR235-500/B | QIR240-1600/K
UXL-151H |  | USH-1000DW | PC-5000MF | USH-3501FN | UVH 1524-1 | MHL 1500 | MHL 480 | QIR235-500/ZD5 | QIR240-1600/VC2
UXL-151H-O |  | USH-1000KS | PC-5000MFN | USH-1000FCL | UVH 16522-0 | MHL 1500/230 | MHL 490 | QIR235-500/ZH | QIR240-1600/VK
UXL-152H |  | USH-1000MC | PC-5002RC | USH-1000FCL3 | UVH 19022-0 | MHL 1500/230G | MHL 500 | QIR240-500/D2 | QIR240-1600/ZC
UXL-152H-O |  | USH-1002DW |  | USH-1000FGIL | UVH 20022-0 | MHL 1507S | MHL 5000 | QIR240-500/VZD | QIR240-1600/ZD2
UXL-302 |  | USH-1005D |  | USH-1000FGIL2 | UVH 2022-0 | MHL 150H | MHL 5000 SPG | QIR240-500C/D | QIR240-1600/ZD4
UXL-302-O |  | USH-2004MB |  | USH-1000FGL3 | UVH 2022-3 | MHL 150LO | MHL 5000/2 | QIR240-500C/E2 | QIR230-2000/ZD
UXL-306 |  | USH-2002MA |  | USH-1002FCL | UVH 2026-1 | MHL 153LY | MHL 5000/4 | QIR240-500C/H | QIR230-2000SPA2
UXL-450S-O |  | USH-3501FNL |  | USH-1002FCL3 | UVH 22024-0 | MHL 16 | MHL 5000/7 | QIR240-500G/D | QIR235-2000/D
UXL-451 |  | USH-3500MR |  | USH-1002FGL3 | UVH 2420-0 | MHL 160 | MHL 5000/7L | QIR110-600W/VZD | QIR235-2000/VZD
UXL-451-O |  | USH-3502DK |  | USH-1003FGIL2 | UVH 2522-0 | MHL 17 | MHL 5000S | QIR120-600/E | QIR235-2000/ZD
UXL-500D-O-A |  | USH-3502MA |  |  | UVH-2524-0 | MHL 170L | MHL 5007 | QIR120-600/ZD | QIR235-2000/ZD4
UXL-16SB |  | USH-4300N |  |  | UVH 3022-0 | MHL 170LR | MHL 5007S | QIR228-650/K | QIR235-2000SPA2
UXL-150SP |  | USH-4300NH |  |  | UVH 3023-0 | MHL 200 | MHL 500L | QIR228-650/L | QIR240-2000/VZB2
|  | USH-5000DK |  |  | UVH 3026-3 | MHL 2000/1 | MHL 5011 | QIR235-700W/ZD | QIH240-2000/S
[5 empty] | UVH 3522/28-0 | MHL 2000/2 | MHL 5020S | QIR240-700/D2 | QIH240-2000T/S
[5 empty] | UVH 4024-0 | MHL 2000/230 | MHL 5027S | QIR230-750/JDVA | QIR240-2000/F
[5 empty] | UVH 4026-0 | MHL 2000/3 | MHL 600 | QIR230-750/VSD | QIR240-2000/TPK3
[5 empty] | UVH 4122-0 | MHL 2000/400 | MHL 6006 | QIR220-800/E | QIR240-2000/VC3
[5 empty] | UVH 4222-0 | MHL 2000/400P | MHL 600G | QIR240-800/VC2 | QIR240-2000/VZD3
[5 empty] | UVH 5022/45-0 | MHL 2000G | MHL 600L | QIR115-900/L | QIR240-2000FRA
[5 empty] | UVH 5822/45-0 | MHL 2100/400 | MHL 6020S | QIR220-950/E | QIR240-2000G/D
[5 empty] | UVH 5822-0 | MHL 2117S | MHL 6027S | QIR110-1000/D2 | QIR240-2000HH
[5 empty] | UVH 6426-0 | MHL 2200/400 | MHL 650 | QIR120-1000/F2 | QIR240-2000R/D
[5 empty] | UVH 6722-0 | MHL 2200/400P | MHL 660 | QIR120-1000/ZF | QIR240-2000SG/D
[5 empty] | UVH 7322-0 | MHL 250 | MHL 7000 | QIH208-1000T/S | QIR240-2000SG/H
[5 empty] | UVH 8322-0 | MHL 250L | MHL 7000/O | QIR230-1000/K | QIR240-2000W/ZD4
[6 empty] | MHL 252 L | MHL 7001/O | QIR230-1000/ZK2 | QIR400-2000/VB3
[6 empty] | MHL 260 | MHL 7007 | QIR235-1000/VD2 | QIR400-2000/VZD2
[6 empty] | MHL 261L | MHL 7007/O | QIR235-1000/B | QIR400-2000/ZB
[6 empty] | MHL 270 | MHL 7008/O | QIR235-1000/D2 | QIR400-2000AM
[6 empty] | MHL 280L | MHL 7500/1 | QIR235-1000/VD | QIR400-2000PUT
[6 empty] | MHL 2818 | MHL 7500/2 | QIR235-1000/VZB | QIR235-2500/ZD
[6 empty] | MHL 281L | MHL 7500/G | QIR235-1000/VZD2 | QIR400-2500/ZC
[6 empty] | MHL 282L | MHL 7700/C | QIR235-1000/ZB | QIR400-2500/ZD5
[6 empty] | MHL 30 | MHL 800 | QIR235-1000/ZD | QIR240-2600R/D
[6 empty] | MHL 3000/230 | MHL 8001 | QIR235-1000/ZD2 | QIR220-3000W/ZD
[6 empty] | MHL 3001 | MHL 800FR | QIR240-1000/D2 | QIR230-3000/TPK
[6 empty] | MHL 3001S | MHL 800G | QIH240-1000/S2 | QIR230-3000SPA2
[6 empty] | MHL 3002 | MHL 800GS | QIH240-1000/VS2 | QIR235-3000SPA2
[6 empty] | MHL 3003 | MHL 800L | QIR240-1000/TPK3 | QIR380-3000/VZB2
[6 empty] | MHL 3007 | MHL 800M | QIR240-1000/VB | QIR400-3000/VZB
[6 empty] | MHL 3007S | MHL 8027S | QIR240-1000/VC2 | QIR400-3000/ZD7
[7 empty] | MHL 808 | QIR240-1000/VYD | QIR400-3000HH
[7 empty] | MHL 880 MP | QIR240-1000/VZB | QIM400-3250W/ZD
[7 empty] | MHL 9009 | QIR240-1000/VZD | QIR400-3600W/ZD2
[8 empty] | QIR240-1000/VZD4 | QIR230-4200W/ZD
[8 empty] | QIR240-1000/ZB | QIR380-4200W/ZD
[8 empty] | QIR240-1000R/D | QIH480-4900/VL
[8 empty] | QIR240-1000SG/B | QIR400-5400W/ZD
[8 empty] | QIR240-1000SG/D | QIR400-6700G
[8 empty] | QIR240-1000SG/H | QIR480-6500/C
[8 empty] | QIR235-1100/ZD | QIR400-7000W/ZD
[8 empty] | QIR235-1100/ZL | QIR400-7000W/ZD2
[8 empty] | QIR240-1100/ZD-SI-TI | QIA01405-KSSV
[8 empty] | QIR144-1200/S | QIA01406-Steatit B
[8 empty] | QIR144-1200/ZS | QIA01408-xLirU
[8 empty] | QIR144-1200KRP3 | QIA01409-EasyFit
QIA19905-ISD
QIA19915-ISE

## HAMAMATSU
HAMAMATSU LAMP
LAMP MAKER | LAMP PART NO. | EQUIPMENT
HAMAMATSU | L2422-02 (100W XENON)
| L6923-01 (L2D2 LAMP) | NANO-9200
| L10725-01 (75W XENON) | NANO-ATLAS XP
| L2174-01 (75W XENON) | VUV-VASE
| L8547 (D2 LAMP) | VUV-VASE
| L2174-04 (75W XENON) | KLA TENCOR SPECTRA FX200
| L7137 (DSE D2 LAMP) | KLA TENCOR SPECTRA FX200
| L9519-02 (D2 LAMP) (HB SHORT SNOUT BASE) | KLA TENCOR SPECTRA FX200
| L8288-02 (UV LAMP) | KLA TENCOR KLA-2371 MODEL
L2570-01
L2422-01 (XE LAMP 100W)
L2274 (150W XENON)
| L6721 (200W XENON) | UV CURING
| L8253 | HAMAMATSU LC-8
| L10852 (250nM, 365nM) | HAMAMATSU LC-8
L2483 (350W MERCURY XE)
| L7477 | TTH412, TTH406, TTH501, TTH003
LAMP MAKER | D2 LAMP | HPLC & SPECTROMETER MAKER
HAMAMATSU | L4133,L4133 LONG LIFE | SHIMADZU AA, CS & UV SERIES
L6380, L6380 LONG LIFE
L6382, L6382 LONG LIFE
L4133, L4133 LONG LIFE
OEM | 290013586 | THERMAWAVE KLA TENCOR
29018048, 29-014965

## D2 LAMP FOR AA, SPECTRO, HPLC
D2 LAMP FOR AA (ATOMIC ABSORPTION), UV (SPECTROPHOTOMETER), LC (HPLC)
EQUIP. MAKER | TYPE | EQUIPMENT | LAMP CODE
SHIMADZU | AA | AA-6400-6800 | 062-65063-01
|  | AA-6200-6300 | 062-65055-05
| UV | UV 1200 - 3600 | 062-65055-05
| LC | LC2010 | 228-37401-91
|  | SPD10,SPD20 | 228-34016-02
|  | SPD6, SPD7 | 062-65056-03
JASCO | UV | V530, V550, V560
WATERS | LC | 2996, 996 | WAT052586
|  | 2487, 2488 | WAS081142
AGILENT | LC | DAD/MWD | 5181-1530
2140-0590
2140-0820
2140-0813
|  | VWD | G1314-60100